## Sheet1
Field Data Collected Near Beaver Run, September 12, 2011 | [5 empty] | Weather: cloudy and hot
Samplers: Robert Cerrato (RC), Brian Okey (BO)
| Site ID | Collector | Time | pH | TDS (ppm) | Cond. (µS) | Temp. (C°) | Comments
| A-1 | RC, BO | 14:38 | 7.05 | 229 | 461 | 19.9 | Retention pool below compressor
| A-2 | RC, BO | 14:42 | 7.63 | 232 | 464 | 20.5 | Culvert opposite of A-1
| A-3 | RC, BO | 14:50 | 7.82 | 72 | 148 | 17.8 | Confluence of two streams
| A-4 | RC, BO | 14:55 | 7.85 | 144 | 272 | 17.9 | Confluence of temporary and main stream
| A-5 | RC, BO | 15:00 | 7.85 | 72 | 144 | 18.3 | Pool below seep
| A-6 | RC, BO | 15:15 | 7.85 | 70 | 140 | 18.1 | Moderate flow
| A-7 | RC, BO | 15:10 | 7.91 | 72 | 141 | 18 | New point
| A-8 | RC, BO | 15:21 | 7.75 | 69 | 139 | 18
| A-9 | RC, BO | 15:25 | 7.23 | 71 | 148 | 17.5 | Small spring on pad side of stream inflow to main channel
| A-10 | RC, BO | 15:31 | 7.65 | 71 | 143 | 17.6 | Small tributary on pad side of main stream
| A-11 | RC, BO | 15:40 | 7.59 | 74 | 149 | 18 | Reservoir inflow point
| A-12 | RC, BO | [5 empty] | Dry
| A-13 | RC, BO | [5 empty] | Dry
| A-14 | RC, BO | [5 empty] | Dry
| A-15 | [6 empty] | N/A
| A-16 | RC, BO | 16:20 | 7.53 | 73 | 147 | 17.5 | Reservoir inflow near pump
| A-17 | RC, BO | 16:35 | 6.93 | 110 | 219 | 13 | Spring enters stream near pad site
| A-18 | RC, BO | 16:41 | 6.75 | 143 | 287 | 11.8 | Low flow at ditch near pad site
| A-19 | RC, BO | 16:50 | 7.6 | 64 | 127 | 17.9 | Point is below two new culverts