## Sheet1
Field Data Collected Near Beaver Run Reservoir, March 2013
Samplers: Brian Flick (BF), Dana Turgeon (DT), Alex Hall (AH), Jesse Kunkle (JK)
| Site ID | Site ID | Collector | Time | pH | TDS (ppm) | TDS | Cond. (µS) | Temp. (C°) | Comments
| 1 | 1 | AH, JK | 5:30 PM² | 5.99 | 364 | 364 | 728 | 7.5 | Milky color
| 2 | 2 | BF, DT | ¹ | [5 empty] | Lab sample, but no field parameters taken
| 3A | 3A | BF, DT | 1:50 PM¹ | 7.56 | 216 | 216 | 448 | 3.4
| 3C | 3C | BF, DT | 1:37 PM¹ | 7.16 | 566 | 566 | 1120 | 3.9
| 5 | 5 | AH, JK | 4:30 PM² | 6.4 | 204 | 204 | 407 | 7.7 | Moderate flow, new pipeline constructed
| 5A | 5A | AH, JK | 4:40 PM² | 6.75 | 86 | 86 | 173 | 8.3 | Milky color, culvert clogged
| 6 | 6 | AH, JK | 4:15 PM² | 4.97 | 463 | 463 | 927 | 9.3 | AMD
| 7 | 7 | BF, DT | 12:15 AM¹ | 3.61 | 710 | 710 | 1425 | 3.7 | Iron, aluminum
| 8A | 8A | BF, DT | 12:00 PM¹ | 7.97 | 160 | 160 | 332 | 2.4
| 9A | 9A | AH, JK | 3:55 PM² | 8.02 | 91 | 91 | 182 | 9.2 | High flow into reservoir
| 10A | 10A | AH, JK | 3:30 PM² | 7.71 | 130 | 130 | 262 | 7.4 | High flow
| 11 | 11 | BF, DT | 11:08 AM¹ | 7.41 | 384 | 384 | 772 | 3 | Reddish tint
| 13A | 13 | BF, DT | 10:23 AM¹ | 7.75 | 151 | 151 | 302 | 2.3
| 14A | 14A | BF, DT | 9:55 AM¹ | 8.17 | 95 | 95 | 188 | 3.3 | Moderate/low flow
| 15 | 15 | AH, JK | 4:20 PM² | 6.07 | 79 | 79 | 170 | 13.3 | Reservoir backed up into stream
| 16 | 16 | BF, DT | 12:35 PM¹ | 3.41 | 807 | 807 | 1625 | 3.8
| 16A | 16A | BF, DT | 12:25 PM¹ | 4.66 | 458 | 458 | 916 | 3.9 | Moderate flow
| 17 | 17 | AH, JK | 3:40 PM² | 7.66 | 104 | 104 | 208 | 8.3 | High flow out of culvert
| 18A | 18 | BF, DT | 10:11 AM¹ | 7.85 | 141 | 141 | 282 | 2.6
| 19A | 19 | BF, DT | 11:20 AM¹ | 7.67 | 181 | 181 | 363 | 2.9
| 22 | 22 | BF, DT | 1:08 PM¹ | 5.75 | 93 | 93 | 188 | 3.1
| 23 | 23 | BF, DT | 1:10 PM¹ | 6.94 | 848 | 848 | 1698 | 3.4
| 25 | 25 | BF, DT | 1:43 PM¹ | 7.19 | 134 | 134 | 272 | 2.9
¹Collected March 18 |  |  |  | Weather: rain/freezing rain
²Collected March 28