## Sheet1
Field Data Collected Near Beaver Run, September 20, 2014 | [6 empty] | Weather: mostly sunny
Samplers: Brian Okey (BO), Evan Tobin (ET), Ian Todd (IT), Brian Fogle (BF)
| Site ID | Collector | Time | pH | TDS (ppm) | Cond. (µS) | Temp. (C°) | Comments
| S-1 | BO, ET, IT, BF | 9:51 | 8.15 | 225 | 450 | 14.1 | Moderate flow
| S-2 | BO, ET, IT, BF | 9:59 | 8.17 | 224 | 447 | 14.1 | Moderate flow
| S-3 | BO, ET, IT, BF | 10:10 | 7.89 | 237 | 477 | 13.1 | Almost too low to sample
| S-4 | BO, ET, IT, BF | 10:06 | 7.59 | 235 | 470 | 14.9 | Low flow (seep below road)
| S-5 | BO, ET, IT, BF | 11:30 |  |  |  |  | Dry
| S-6 | BO, ET, IT, BF | 11:32 |  |  |  |  | Dry
| S-7 | BO, ET, IT, BF | 11:27 |  |  |  |  | Dry
| S-8 | BO, ET, IT, BF | 10:20 |  |  |  |  | Dry
| S-9 | BO, ET, IT, BF | 10:17 |  |  |  |  | Dry
| S-10 | BO, ET, IT, BF | 10:37 | 7.71 | 187 | 382 | 16 | Stream not flowing, sampled pool
| S-11 | BO, ET, IT, BF | 10:48 | 7.62 | 183 | 367 | 14 | No flow, sampled pool below spring house
| S-12 | BO, ET, IT, BF | 11:01 |  |  |  |  | Dry
| S-13 | BO, ET, IT, BF | 9:19 |  |  |  |  | Dry
| S-14 | BO, ET, IT, BF | 9:19 | 7.49 | 144 | 291 | 14.8 | Low flow
| S-15 | BO, ET, IT, BF | 9:12 | 7.41 | 158 | 301 | 14.8 | Low flow
| S-16 | BO, ET, IT, BF | 9:10 | 6.86 | 155 | 310 | 15.5 | Low flow
| S-17 | BO, ET, IT, BF | 9:05 | 7.67 | 166 | 332 | 14.4 | Low flow
| S-18 | BO, ET, IT, BF | 11:09 |  |  |  |  | Dry
| S-19 | BO, ET, IT, BF | 9:00 | 8.04 | 113 | 226 | 14.6 | Very low flow, water pooled below culvert
| S-20 | BO, ET, IT, BF | 11:44 | 8.06 | 120 | 239 | 16.2 | Very low flow