## BUILDING
IUP BUILDING INSPECTION FORM
BUILDING: |  |  |  | INSPECTOR'S NAME:
DATE: |  |  |  | GENERAL BUILDING USE:
SPECIFIC BUILDING OCCUPANCIES:
STORAGE AREAS:
TYPE OF PRODUCTS STORED:
TYPE OF BUILDING CONSTRUCTION:
THE NEAREST FIRE PROTECTION WATER SUPPLY AND/OR NEAREST WATER SUPPLY CONTROL:
ARE ALL HYDRANTS UNOBSTRUCTED AND IN GOOD OPERATING
| CONDITION? |  | (Y/N)
| ARE ALL POST INDICATOR VALVES IN THE OPEN POSITION? | [6 empty] | (Y/N)
TYPE OF FIRE DETECTION/ALARM SYSTEM:
TYPE (S) OF FIRE SUPPRESSION SYSTEMS:
1 |  | MEAN OF EGRESS:
| DO ALL EXIT DISCHARGES OPEN WITH EASE? | [5 empty] | (Y/N)
IF NO, LIST:
IS ALL PANIC HARDWARE ON EXIT DISCHARGES/EXIT ACCESSES IN GOOD
| OPERATING CONDITION? |  |  |  | (Y/N)
IF NO, LIST:
| ARE ALL LIGHTED EXIT SIGNS FULLY ILLUMINATED? | [6 empty] | (Y/N)
IF NO, LIST:
DO ALL FIRE DOORS, EXIT ACCESS DOORS, AND EXIT DISCHARGES HAVE FULLY
OPERATING DOOR CLOSERS WITH A 10-SECOND CLOSING TIME?
(Y/N)
IF NO, LIST:
DO ALL THE FIRE DOORS AND EXIT DISCHARGES CLOSE COMPLETELY AND NOT
| PROPPED? |  | (Y/N)
IF NO, LIST:
ARE ALL COMMON PATHS OF TRAVEL FOR MEANS OF EGRESS CAREFULLY
| INDICATED BY SIGNS, ARROWS, ETC: |  |  |  |  | (Y/N)
IF NO, LIST:
ARE EXIT ACCESS, EXIT DISCHARGE AREAS, AND STAIR TOWERS FREE FROM
| OBSTRUCTIONS, ETC? |  |  | (Y/N)
IF NO, LIST:
ARE ALL EXTERNAL FIRE ESCAPES KEPT CLEAR AND IN GOOD CONDITION?
(Y/N)
IF NO, LIST:
2 |  | EMERGENCY LIGHTING:
ARE ALL BATTERY OPERATED EMERGENCY LIGHTS IN FULL OPERATING
| CONDITION? |  | (Y/N)
IF NO, LIST:
ARE ALL BATTERY OPERATED EXIT SIGNS IN FULL OPERATING CONDITION?
(Y/N)
WITH EMERGENCY GENERATOR OPERATING, DO ALL EMERGENCY LIGHTS AND EXIT
SIGNS OPERATE; AND ARE ALL COMMON PATHS OF TRAVEL ADEQUATELY LIGHTED?
(Y/N)
IF NO, LIST:
3 |  | FIRE PROTECTION EQUIPMENT:
ARE ALL FIRE EXTINGUISHERS PROPERLY MOUNTED, CLEARLY VISIBLE AND EASILY
| ACCESSIBLE? |  | (Y/N)
IF NO, LIST:
ARE ALL STANDPIPES AND HOSE CABINETS UNOBSTRUCTED AND EASILY
| ACCESSIBLE? |  | (Y/N)
IF NO, LIST:
ARE ALL STANDPIPE AND/OR SPRINKLER SHUTOFF VALVES IN THE "OPEN" POSITION
| AND LOCKED OUT TO PREVENT TAMPERING? | [5 empty] | (Y/N)
IF NO, LIST:
| ARE ALL STANDPIPE INSPECTIONS CURRENT? | [5 empty] | (Y/N)
IF NO, LIST:
ARE ALL SPRINKLER HEADS FREE FROM ANY OBSTRUCTIONS AND BLOCKAGE (HAVE
| AT LEAST 18 INCHES OF CLEARANCE AROUND THEM)? | [6 empty] | (Y/N)
IF NO, LIST:
| ARE ALL SPRINKLER SYSTEM INSPECTIONS CURRENT? | [6 empty] | (Y/N)
DATE OF LAST INSPECTION:
ARE ALL FIXED FIRE SUPPRESSION SYSTEM INSPECTIONS CURRENT?
(Y/N)
ARE ALL FIRE DEPARTMENT CONNECTIONS FOR STANDPIPES AND SPRINKLER
| SYSTEMS VISIBLE, ACCESSIBLE, AND IN GOOD CONDITION? | [6 empty] | (Y/N)
IF NO, LIST:
ARE ALL FIRE ALARM PULL BOXES UNOBSTRUCTED, VISIBLE AND IN GOOD
| CONDITION? |  | (Y/N)
IF NO, LIST:
ARE ALL FIRE ALARM HORNS AND BELLS UNOBSTRUCTED, VISIBLE AND IN GOOD
| CONDITION? |  | (Y/N)
IF NO, LIST:
ARE ALL HEAT, FIRE AND SMOKE DETECTORS UNOBSTRUCTED AND IN GOOD
| CONDITION? |  | (Y/N)
IF NO, LIST:
4 |  | GENERAL CONDITION OF BUILDING:
ROOF (MAIN ROOFS AND OVERHANGS):
| ARE ALL ROOF DRAINS FREE FROM OBSTRUCTIONS? | [6 empty] | (Y/N)
ARE ALL GUTTERS AND DOWNSPOUTS FREE FROM CLOGS AND IN GOOD
| CONDITION? |  | (Y/N)
| ARE THERE ANY VISIBLE SIGNS OF ROOM DAMAGE? | [6 empty] | (Y/N)
| IS ALL ROOF-TOP EQUIPMENT IN GOOD CONDITION? | [6 empty] | (Y/N)
IF NO, LIST ANY DEFICIENCIES ON THE ABOVE:
WALLS:
ARE ALL EXTERIOR AND INTERIOR WALLS FREE FROM LARGE HOLES, CRACKS AND
| OTHER SIGNS OF DETERIORATION OR DAMAGE? | [5 empty] | (Y/N)
ARE ALL WINDOWS, PARTICULARLY LARGE WINDOWS OVER AND AROUND COMMON
| PATHS OF TRAVEL, FREE FROM ANY SIGNS OF DAMAGE? | [6 empty] | (Y/N)
IF NO, LIST ANY DEFICIENCIES ON THE ABOVE:
CEILINGS:
ARE THE CEILINGS FREE FROM HOLES AND OTHER SIGNS OF DETERIORATION?
(Y/N)
| ARE THERE ANY WET SECTION OF THE CEILING? | [5 empty] | (Y/N)
LIST ANY DEFICIENCIES ON THE ABOVE:
FLOORS:
ARE ALL FLOORS FREE FROM HOLES, CRACKS, LOOSE TILES, LOOSE FLOORBOARDS
| AND OTHER SIGNS OF DETERIORATION? |  |  |  |  | (Y/N)
IF NO, LIST:
PORCHES, DECK AREAS, AND OUTSIDE STEPS AND SIDEWALK
ARE ALL PORCHES, DECKS, OVERHANGS, SUPPORTS AND COLUMNS FREE FROM
EXCESSIVE WEAR, LOOSE FLOORBOARDS, UNEVEN SURFACES, AND DETERIORATION?
(Y/N)
KITCHEN AREAS
ARE ALL STOVE SURFACES, OVENS, HOODS, AND VENTS CLEAN AND FREE FROM
| GREASE, ETC? |  |  | (Y/N)
IS THE COOKING AREA, AS WELL AS THE ENTIRE KITCHEN, FREE FROM TRASH AND
| KEPT IN A NEAT AND ORDERLY MANNER? | [5 empty] | (Y/N)
ARE STOVE AND HOOD FIRE SUPPRESSION SYSTEM CONTROLS READILY
| ACCESSIBLE AND NOT OBSTRUCTED? |  |  |  |  | (Y/N)
LIST ANY DEFICIENCIES:
LIGHTING:
DOES THE BUILDING HAVE ADEQUATE ILLUMINATION THROUGHOUT?
(Y/N)
IF NO, LIST DEFICIENT AREAS:
GENERAL HOUSEKEEPING:
ARE ALL OFFICES, CLASSROOMS, WORKSHOPS, STORAGE ROOMS KEPT IN A NEAT
| AND ORDERLY MANNER? |  |  |  | (Y/N)
ARE SURROUNDING AREAS SUCH AS WINDOW WELLS, YARDS, SIDEWALKS FREE
| FROM TRASH, LEAF AND FOLIAGE BUILD-UP? | [5 empty] | (Y/N)
ARE TRASH CANS AND DUMPSTERS OUTSIDE OF BUILDING FREE FROM OVER-
| FLOWING, EXCESS RUBBISH? |  |  |  | (Y/N)
ARE CLEANING SUPPLIES, FLAMMABLE LIQUIDS, AND OTHER HAZARDOUS
| MATERIALS BEING PROPERLY STORED? |  |  |  |  | (Y/N)
LIST ANY DEFICIENCIES:
ELECTRICAL:
ARE ALL FUSE AND BREAKER BOXES CLEAN AND IN GOOD CONDITION WITH
| UNEXPOSED WIRING? |  |  | (Y/N)
ARE ALL SWITCHES AND RECEPTACLES PROTECTED WITH ADEQUATE COVER
| PLATES? |  | (Y/N)
ARE ALL THE LIGHT FIXTURES (INDOOR AND OUTDOOR) ATTACHED FIRMLY TO THE
WALL OR CEILING WITH NO EXPOSED WIRES AND IN GOOD CONDITION?
(Y/N)
ARE THE ROOMS/CLOSETS THAT ARE USED FOR UTILITY EQUIPMENT CLEAN AND IN
| GOOD CONDITION AND NOT BEING USED FOR MISCELLANEOUS STORAGE? | [6 empty] | (Y/N)
ARE BUILDING BATHROOMS AND KITCHEN SINK AREAS PROTECTED BY A GROUND
| FAULT INTERRUPTER CIRCUIT (GFIC)? |  |  |  |  | (Y/N)
LIST ANY DEFICIENCIES:
5 |  | VENTILATION:
IS VENTILATION EQUIPMENT SUCH AS STOVE HOODS AND FUME HOODS CLEAN AND
| IN GOOD WORKING ORDER? |  |  |  | (Y/N)
HOODS USED AS LOCAL VENTILATION FOR CHEMICALS:
|  | CLEAN |  | (Y/N)
|  | FREE OF CHEMICAL STORAGE? |  |  |  |  | (Y/N)
IF NO, LIST:
6 |  | AESTHETICS (INTERIOR):
| ARE ROOMS KEPT NEAT AND CLEAN? |  |  |  |  | (Y/N)
IS THE PAINT, PLASTER, WALLPAPER AND PANELING IN GOOD CONDITION?
(Y/N)
ARE THE FLOOR COVERINGS SUCH AS THE TILE, CARPETING, HARDWOOD, CONCRETE
| ETC., IN GOOD CONDITION? |  |  |  | (Y/N)
7 |  | AESTHETICS (EXTERIOR):
ARE THE WINDOWS AND DOORS AND THEIR FRAMES IN GOOD REPAIR AND FREE
| FROM BROKEN GLASS, ETC? |  |  |  | (Y/N)
ARE EXTERIOR WALLS IN GENERALLY GOOD CONDITION AND FREE FROM LARGE
| HOLES, CRACKS, AND OTHER DAMAGE? |  |  |  |  | (Y/N)
ARE ALL OUTSIDE STEPS, LANDINGS, AND SIDEWALKS AROUND THE BUILDING IN
GENERALLY GOOD CONDITION AND FREE FROM LARGE HOLES, CRACKS AND
| UNEVEN SURFACES, ETC? |  |  |  | (Y/N)
8 | ARE MECHANICAL AND ELECTRICAL ROOMS FREE OF STORED MATERIALS?
|  | MECHANICAL? |  |  | (Y/N)
|  | ELECTRICAL? |  |  | (Y/N)
9 | COMMENTS:

## FIRE EXT.
FIRE EXTINGUISHER INSPECTION
Date #1:
Comments:
Date #2:
Comments:
*All extinguishers are inspected monthly by the custodial lead worker and signed off on.

## ALARM
FIRE ALARM DRILLS
Date #1:
Time:
Comments:
Date #2:
Time:
Comments: