IN CASE OF SMOKE OR FLAMES

DIAL 9-911

FIRE EVACUATION PROCEDURES

A.	Before a Fire

1.	Know the location of all fire alarm pull stations and fire safety equipment on the floor.

2.	Know the location of all exits throughout the building.

B.	Upon Discovering Smoke or Flames

1.	Go immediately to the nearest fire alarm pull station, lift cover, and pull handle down to activate building alarm.

2.	Notify the fire department (9-911), if time permits.

3.	Vacate your room, close the door and lock it, if time permits.

NOTE:	If you are in your room when the fire alarm sounds, check your door and door knob to see if they are hot.  If they are hot, do not attempt to leave your room.  Keep your door closed.  Hang something out of your window, call 9-911 and shout for help to attract attention.

4.	Vacate the building as quickly and safely as possible by the nearest accessible exit.  Keep fire doors closed!  If you encounter smoke while exiting, keep as low to the floor as possible.

C.	Upon Hearing the Fire Alarm Sound

1.	Assume there is an actual fire somewhere in the building.

2.	Promptly vacate the room, closing any windows and door and locking the door if time permits.

3.	Vacate the building as quickly and safely as possible by the nearest accessible exit.

D.	Elevators

1.	Do not attempt to use an elevator after the fire alarm in the building has sounded.

E.	After Vacating the Building

1.	Leave the immediate area surrounding the building.

2.	Staff will instruct you to remain at a safe distance from the building. You should remain in this location until further instructions are given from emergency personnel or staff.

FIRE DEPARTMENT 9-911

Due to the extreme danger that fires pose in a residence community, any resident who ignites any facility, furnishings and/or equipment; interferes with fire officials; interferes or tampers with any part of the fire alarm system or safety equipment including heat or smoke detectors, sprinkler systems, fire alarm pull stations, and pull station covers; or places false alarms will be subject to immediate removal from University housing, and to further applicable University or civil action.

5/03

J/fireevac.pro