Environmental Health & Safety

422 Sutton Hall
Indiana, PA  15705
T: 724-357-5705

Residence Hall Fire Drill Procedure

Fire drills in residence halls are planned events coordinated through OHRL Staff and University Police.  GRD/Residential Director will be responsible for facilitating drills and will contact the University Police dispatcher to notify University Police of the scheduled drill.  University Police will dispatch an officer to the building at the agreed time to activate a pull station.  

*Note:  OHRL staff will no longer have the simplex key for the pull stations and fire alarm panel.  The University Police will activate and reset the panel for all scheduled drills and complete a complaint report which will include the following information:

- Date and time of drill

- Identification of any equipment malfunction

In buildings with an intercom system, only University Police will access and utilize intercom for safety/security related issues during any activation of the fire alarms.

Procedures for response to fire alarms by the office of housing and residence and University police will remain unchanged.