III. VISITOR POLICY

A.	All visitors visiting the Cogen Plant, Gas Boiler, or Maintenance Shop must report to the cogen control room and receive safety instructions

and personal protective equipment.  (PPE).

B.	All visitors must wear personal protective equipment.  At a minimum, 	visitors must wear:

1.  Hearing (ear) protection.

2.  Hard hat.

3.  Safety glasses/goggles.

C.  	Visitors shall be accompanied by an employee during a tour of either 	plant. 	Exceptions may be authorized by the Director.

D.  	Visitors must sign the log sheet located in the control room.

E.  	Visitors must be briefed on safety considerations during their visit.  This 	should include but not be limited to such topics as:

- Use of PPE

- Emergency Procedures

- Evacuation Procedures

- Unauthorized Areas

- Electrical Areas

- Hot Surface Precautions

- Eye Wash Stations

- Rotating Machinery

- Chemical Awareness