DIVISION 1 - GENERAL REQUIREMENTS

Section 01501 - Safety

I.	GENERAL

A.	STIPULATIONS

1.	"Special Requirements" forms a part of this section by this reference and shall have same force and effect as if printed herewith in full.

B.	RELATED DOCUMENTS

1.	Contract Drawings and Standard Form of Agreement apply to Section.

C.	SUMMARY

1.	This section emphasizes certain safety conditions that must be maintained during construction.

a.	Contractor shall keep surrounding area outside of the work area free from  debris at all times.

II.	SAFETY REQUIREMENTS DURING CONSTRUCTION

A.	Walks and roadways used by both contractor and the public shall be kept in repair and cleared by the contractor at least once each day and more often as conditions require.

B.	No obstructions are to be placed on or within 15 feet of fire hydrants. Hydrants must be accessible for fire fighting purposes.

C.	Where walkways, roadways, or entrances used by the public are adjacent to or pass under construction scaffolding or near building edge, the contractor shall provide an adequate covering for such area to protect passersby from falling objects.

- University Department of Safety is available for consultation regarding above items and any other safety matter.